## oldDERentities
entity | index | name | label | val | actorOrService | hierarchy | description | aDWPOriginalFocus | aMISystems | actorTypeOrRole | ahGCharging | archiMateTerminologyLayers | businessFunctionService | cSWGActors | cSWGNISTIR7628 | clusterLabel | colC | colD | conceptualModel | dKERepository | demandResponse | distributionGridMgmt | eG3 | eIS | eNTSOERoleModel | eUCommission | eUSCCGWP1 | eUSourceunknown | eUWGSPVers05 | electricStorage | electricTransportaion | gUC | harmonizationNotes | homeworkBlocks | iEC61968IRM | iECSG3 | iECTC57WG19TC8WG6DERActorRoles | iEEEP2030Draft3 | manufacturerCIMIECTypeOfZone | nAESB | nISTLegacyDomain | new | note | notes | originalAlternativeEntityNameIncludingEntityNamesAreDuplicates | referenceDiagram | relatedRole | rolefromRoleTab | rowActionFlagDeletedHarmonizeh | sGACConceptualArch | sMCG | type | uSEUInput | wASA
entity:AdvancedMeteringInfrastructure-AMI--21 | 21 | Advanced Metering Infrastructure (AMI) | Advanced Metering Infrastructure (AMI) | X | Actor | Physical | [9 empty] | DER | [20 empty] | X | [5 empty] | Lvl 3 REP and ICT
entity:Aggregator-26 | 26 | Aggregator | Aggregator | X | Role | Conceptual | Third party that combines curtailment, demand or DER of two or more customers into a single purchasing unit to negotiate the purchase or the sale of electricity to retail electric providers. Aggregators may not sell or take title to electricity. Retail electric providers are not aggregators. | X | X | role |  |  |  |  | X | p; DER |  |  | X | X | X | X |  |  |  | X |  |  |  | X | X |  | H1 & H2 should be discussed with originating team | 7:00 |  |  | X |  | Enterprise |  | Service Provider |  | Lvl 3 REP and ICT; Distribution Grid Management/Microgrid |  | RM: Energy Services Company; NR: Aggregator / Retail Energy Provider; EU: Supplier; xx: Energy Services Aggregator | X |  | Manager | H1 |  |  | Organization | US, EU | X
entity:AreaEnergyServices-44 | 44 | Area Energy Services | Area Energy Services | X | ServiceComposition | Conceptual | ServiceComposition offering services regarding the energy management of a specific location or geographical area. These services could be dedicated to the charge management of electric vehicles as well as the energy management of the location, like tertiary buildings (in such a case the charging of EVs could be included in a local optimization).An Area Energy Service Operator could, at the same time, offer EV charging Energy (e-Mobility) Services (user profile and billing could be integrated in its service offer). Additional information: an Area Energy Service Operator could be considered as an Aggregator for specific services, linked to the charge management. Also, an EPS that serves Local EPSs |  |  |  | X |  |  |  |  | DER | [16 empty] | last sentence from duplicate |  |  |  | X | [5 empty] | AhG Charging; Lvl 0 EPS | [5 empty] | H |  |  |  | EU
entity:BalancingAuthority-market--73 | 73 | Balancing Authority (market) | Balancing Authority (market) | X | ServiceComposition | Conceptual | [9 empty] | DER | [16 empty] | unclear if rows 76 & 77 are different | 7:00 |  |  | X | [5 empty] | Lvl 5 Trans. And Market
entity:BatteryEnergyStorage-74 | 74 | Battery energy storage | Battery energy storage | X | Actor | Physical | [9 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:BiomassPlant-82 | 82 | Biomass plant | Biomass plant | X | Actor | Physical | [9 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:BuildingDEREMS-BDEMS--87 | 87 | Building DER EMS (BDEMS) | Building DER EMS (BDEMS) | X | Actor | Logical | System that manages the settings and dispatch of DER systems within a building | [8 empty] | DER | [17 empty] | 7:00 |  |  | X | [5 empty] | Lvl 2 FDEMS
entity:CombinedHeatAndPower-CHP--130 | 130 | Combined Heat and Power (CHP) | Combined Heat and Power (CHP) | X | ServiceComposition | Physical | DER system whose primary purpose is creation of heat but can also provide electrical energy from the heat creation capability. In some circumstances, electrical energy is the primary purpose with heat as a secondary purpose | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:CommunicationNodes-139 | 139 | Communication Nodes | Communication Nodes | X | Actor | Physical | [9 empty] | DER | [17 empty] | 7:00 |  |  | X | [5 empty] | Lvl 3 REP and ICT
entity:CriticalLoad-202 | 202 | Critical Load | Critical Load | X | ServiceComposition | Logical | Loads within a Local EPS having the highest priority of service. These loads are served at the expense of all other loads. | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER | [5 empty] | h
entity:DCEPS-238 | 238 | DC EPS | DC EPS | X | Actor | Physical | A Local EPS that operates direct current | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 0 EPS
entity:DemandResponse-DR-PricingSchedule-245 | 245 | Demand Response (DR) Pricing Schedule | Demand Response (DR) Pricing Schedule | X | Service | Conceptual | Schedule provided by REPs, DSOs, TSO, and others to indicate contractual and/or forecast prices for energy and ancillary services during specific time periods | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 5 Trans. And Market
entity:DemandResponse-DR-System-246 | 246 | Demand Response (DR) System | Demand Response (DR) System | X | Service | Conceptual | System providing demand response pricing information for different energy products during different time frames | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 5 Trans. And Market
entity:DERControllableLoad-generic--263 | 263 | DER Controllable Load (generic) | DER Controllable Load (generic) | X | Service | Conceptual | DER that consists primarily of a load that is allowed to be modified based on operating conditions, tariffs, contracts, or other criteria | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:DERController-generic--264 | 264 | DER Controller (generic) | DER Controller (generic) | X | Actor | Physical | Controller of DER unit | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:DERGeneratingUnit-generic--266 | 266 | DER Generating Unit (generic) | DER Generating Unit (generic) | X | Actor | Physical | DER unit that includes generation of electrical energy | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:DERLog-267 | 267 | DER Log | DER Log | X | Actor | Physical | Log of significant events and alarms for use in market settlements, operational analysis, and other audit purposes | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:DERManagementSystem-DERMS--generic--270 | 270 | DER Management System (DER-MS) (generic) | DER Management System (DER-MS) (generic) | X | Actor | Logical | System that manages the settings and dispatch of DER systems | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 2 FDEMS | [5 empty] | h
entity:DERMeter-271 | 271 | DER Meter | DER Meter | X | Actor | Physical | Meter that records the energy produced within specified time periods, energy used within specified time periods for DER charging of storage, and demand curves of DER generation and storage over time | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:DERServices-generic--273 | 273 | DER Services (generic) | DER Services (generic) | X | ServiceComposition | Logical | Responsible party for operational aspects of the facilities and their DER systems (generation, storage, and controllable load) | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 2 FDEMS
entity:DEROwner-generic--274 | 274 | DER Owner (generic) | DER Owner (generic) | X | ServiceComposition | Conceptual | Responsible party for market and financial decisions and contracts related to the facilities and their DER systems (generation, storage, and controllable load) | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 2 FDEMS
entity:DERProtectionFunction-275 | 275 | DER Protection Function | DER Protection Function | X | Actor | Physical | Safety-related function to prevent harm to personnel, the DER system, and/or other electrical equipment | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:DERStorageUnit-generic--278 | 278 | DER Storage Unit (generic) | DER Storage Unit (generic) | X | Actor | Physical | DER unit that includes energy storage that can be converted to electrical energy | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:DERSystem-generic--281 | 281 | DER System (generic) | DER System (generic) | X | ServiceComposition | Physical | Combined DER controller and DER unit, including generators, energy storage, and controllable load | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:DERUnit-generic--282 | 282 | DER Unit (generic) | DER Unit (generic) | X | Actor | Physical | Prime mover and converter to and/or from electrical energy, , including generators, energy storage, and controllable load | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:DistributedEnergyResource-DER--generic--314 | 314 | Distributed Energy Resource (DER) (generic) | Distributed Energy Resource (DER) (generic) | X | ServiceComposition | Physical | A distributed set of one or more energy service resources, including generators, energy storage, controllable load, and ancillary services | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 1 DER
entity:DistributionOperationsModelAndAnalysis-DOMA--342 | 342 | Distribution Operations Model and Analysis (DOMA) | Distribution Operations Model and Analysis (DOMA) | X | ServiceComposition | Physical | Topological model of distribution system, including the location and profile characteristics of all distribution equipment and DER systems (individually and/or in aggregate). This model is derived from the geographic model in the GIS, the facilities information (often included in the GIS and/or an asset management database), and the DER profiles (derived from the CIS and DER characteristics database) | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 4 DSO
entity:DistributionSystemPowerFlow-DSPF--360 | 360 | Distribution System Power Flow (DSPF) | Distribution System Power Flow (DSPF) | X | ServiceComposition | Logical | Application that determines the power flows of the distribution system, using the DOMA model | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 4 DSO
entity:Distribution-DERSCADASystem-363 | 363 | Distribution/DER SCADA System | Distribution/DER SCADA System | X | ServiceComposition | Logical | [9 empty] | DER | [20 empty] | X | [5 empty] | Lvl 4 DSO
entity:DSOServices-371 | 371 | DSO Services | DSO Services | X | ServiceComposition | Logical | ServiceCollaboration responsible for making decisions for operating the distribution power system | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 4 DSO
entity:DSOPlanner-372 | 372 | DSO Planner | DSO Planner | X | Service | Logical | Planner | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 4 DSO
entity:ElectricMeter-383 | 383 | Electric Meter | Electric Meter | X | Actor | Logical | A device that is either used for revenue grade at the pPoint of sSale measuring or facility grade device used for the transfer of electricity product and measuring usage and possibly control from one domain/system to another | X | [28 empty] | X |  | Field Monitoring |  | Cross Cutting | [10 empty] | Device | US
entity:ElectricStorage-388 | 388 | Electric Storage | Electric Storage | X | Role | Logical | A system capable of storing power for use at a later time. Examples include pumped water storage, Advanced Energy Systems (AES), Plug-in Electric Vehicles (PEV), and thermal storage systems. | X |  | system actor | [5 empty] | 1 |  |  | X | [17 empty] | X |  | Process |  | Cross Cutting |  |  | this is the role played played by other logical actors such as batteries, cap-banks, chemical reactions (which as logical subclasses of electrical storage) | W19: Storage System |  | consumer, producer |  |  |  |  | Device | US
entity:ElectricalPointOfConnection-ECP--402 | 402 | Electrical Point of Connection (ECP) | Electrical Point of Connection (ECP) | X | Actor | Physical | Point of electrical connection between the DER source or sink of energy and any EPS. Each DER unit has an ECP connecting it to its local power system; groups of DER units have an ECP where they interconnect to the power system at a specific site or plant; a group of DER units plus local loads have an ECP where they are interconnected to the utility power system. NOTE?For those ECPs between a utility EPS and a plant or site EPS, this point is identical to the point of common coupling (PCC) in the IEEE 1547 "Standard for Interconnecting Distributed Resources with Electric Power Systems". | [8 empty] | DER | [20 empty] | X
entity:EnergyServiceProvider-447 | 447 | Energy Service Provider | Energy Service Provider | x | Role | Conceptual | Provides retail electricity, natural gas, and clean energy options, along with energy efficiency products and services. | X | X | role |  |  |  |  | X |  | ESI | ESI | X | [11 empty] | X | [5 empty] | x | X | Enterprise |  | Service Provider |  |  |  | E: Energy Service Company (ESCO) | X | ? |  | h |  |  | Organization | US
entity:EPSSwitch-466 | 466 | EPS switch | EPS switch | X | ServiceComposition | Physical | Switch plus its controller within an EPS | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 0 EPS
entity:EVPricingProgram-478 | 478 | EV Pricing Program | EV Pricing Program | X | Service | Logical | Special pricing for charging EVs | [8 empty] | DER | [20 empty] | X | [5 empty] | Lvl 5 Trans. And Market